Effect of switching nominal input voltage from default of 230 vac nom to 240 vac nom

(switches 1 & 2 from off-off to on-off)

Stops voltage “bucking” due to input voltage exceeding 230 vac nom +30%